## Slide 1
EXPERT TEACHING SESSION
Artificial urinary sphincter surgery
Patient selection, difficult bladders and difficult urethras
[Meeting and date]
Mr Andrew Baird Urology Consultant
Mr Abu Yousif Urology Consultant
Nity G ST5 Urology Registrar
Notes: Image: UroOps 3D teaching schematic of the implanted device, captured from https://uroops3d.com/lab/aus on 10 October 2026, with clinical review pending. It is not a record of an actual operation. No personal operative experience or local outcomes are asserted.

## Slide 2
Decide before theatre
Can this patient obtain useful continence while storing and emptying safely and operating the device?
IN THIS SECTION
01
The decision before theatre
02
Evidence and device boundaries
03
Leakage mechanism and patient goals
04
Timing after prostate treatment
05
Pump use over time
06
Flexible cystoscopy before implantation
07
Urodynamics: BAUS, EAU and AUA
08
Interpreting an imperfect study
09
Consent: improvement and lifetime burden
Decide before theatre
The bladder
The urethra
Preparation without ritual
The operation
After the implant

## Slide 3
DECIDE BEFORE THEATRE
01 / 38
The decision before theatre
BAUS25 · AUA24 · ICS16
Severe leakage is only the starting point
Implant
Stress leak shown, safe bladder, good emptying, can work the pump
Optimise
A treatable bladder or emptying problem is the bigger issue
Investigate
Not sure why he leaks, what the tests mean, or the anatomy
Reconsider
Safe bladder function or using the device alone is unlikely

## Slide 4
DECIDE BEFORE THEATRE
02 / 38
Evidence and device boundaries
BAUS25 · EAU26 · AUA24 · ICS16 · AP23 · CCIFU · AUASTATUS26 · DEVICE26
BAUS 2025 · AUA amendment 2024 · EAU 2026. Meeting abstracts are not guidelines. One device’s results do not transfer to another.
Source | What it can tell us
Guidelines and consensus | A recommended clinical pathway
Clinical studies | Results in one group of patients
Manufacturer IFU | How the device may be used, and its warnings
Expert or local practice | A practical choice, with the uncertainty stated

## Slide 5
DECIDE BEFORE THEATRE
03 / 38
Leakage mechanism and patient goals
BAUS25 · EAU26 · AUA24 · PAD26
Pad count is useful, but 2–4 pads a day covers a wide range of weights (2026 data). Weigh the pads when unsure.
Describe the leak
Stress leak shown on examination
Urgency, night-time symptoms and emptying
Pad use, pad weight and activity
Agree what improvement is worth it
Is it still improving? What has been tried?
A validated symptom score
The activity the patient wants back

## Slide 6
DECIDE BEFORE THEATRE
04 / 38
Timing after prostate treatment
AUA24 · BAUS25 · EAU26 · MASTER22 · MASTER26
MASTER 2026: at 24 months the sling was still non-inferior, but further surgery was 11% after sling vs 2% after AUS. Selected patients.
Guidance | At six months | At twelve months
BAUS | At least six months’ recovery for severe SUI | At least twelve months for mild–moderate SUI
AUA | Surgery may be offered for bothersome, non-improving SUI despite conservative care | Offer surgery for persisting bothersome SUI
Severity by 24-hour pad weight: the Nitti classification BAUS uses
Mild
Under 100 g in 24 hours
Moderate
100 to 400 g in 24 hours
Severe
Over 400 g in 24 hours

## Slide 7
DECIDE BEFORE THEATRE
05 / 38
Pump use over time
AUA24 · ICS16 · CCIFU · FRAIL26
Rigicon ContiClassic, manufacturer illustration.
Pump assessment
Watch the patient operate a demonstration pump
Check reach, strength and understanding
Agree a position he can reach before surgery
Assess frailty as well as future pump use
Notes: Image source: Rigicon ContiClassic IFU, CC-IFU REV.03, 12 October 2023, printed page 1 (PDF page 4). https://www.rigicon.com/files/e-labeling/ContiClassic-IFU.pdf . Manufacturer illustration, shown for component identification, without a comparative superiority claim.

## Slide 8
DECIDE BEFORE THEATRE
06 / 38
Flexible cystoscopy before implantation
BAUS25 · AUA24 · EAU26 · EAUSTR26 · AUAUDS26
A 2026 AUA abstract (IP09-22) looks at testing again; results not published. Current guidance stands.
Guidance
AUA recommends cystourethroscopy before SUI surgery
BAUS: VUDS for every candidate; cystoscopy when a narrowing is suspected, or with standard UDS where video is unavailable
Looking in advance is our preference, not a rule
Findings that change the plan
Stricture, bladder-neck contracture or anastomotic narrowing
Erosion, foreign material or stones
Tumour, or anything that means repeated scopes

## Slide 9
DECIDE BEFORE THEATRE
07 / 38
Urodynamics: BAUS, EAU and AUA
BAUS25 · EAU26 · AUA24 · ICS16 · AUASTATUS26 · AUAUDS26
The three guidelines differ. The 2026 AUA abstract (IP09-22) is conference material; results not published.
Guideline | Position | Clinical implication
BAUS | Video-urodynamics for surgical candidates | Follow the investigation pathway
EAU | UDS before invasive treatment, weak recommendation | Its own text still allows selective testing
AUA | UDS when it would change the diagnosis or counselling | Say what question the test should answer

## Slide 10
DECIDE BEFORE THEATRE
08 / 38
Interpreting an imperfect study
BAUS25 · AUA24 · ICS16 · UDS14
A small capacity may just be leakage. A weak contraction in the lab needs the real voiding history.
1
Main symptom, and a stress leak shown
2
Urine, bladder diary, free flow and repeated residual
3
Urethral anatomy and future access
4
The urodynamic strategy your guideline recommends
5
Is storage safe? Can he empty? Is the outlet stable?

## Slide 11
DECIDE BEFORE THEATRE
09 / 38
Consent: improvement and lifetime burden
AUSCO26 · CCSAFETY · AUA24 · RT22 · FRAIL26 · REGRET26 · DEVICE26 · REPORT26
These two numbers do not compare the devices. The regret data say: counsel about leakage and future surgery.
AMS 800: zero-pad use
60%
61 / 101 at 12 months after activation
AUSCO 2026: 115 primary implants
Manufacturer-funded, no comparison group, missing data, one year of follow-up.
ContiClassic: device survival
93.2%
12-month Kaplan–Meier estimate
First 116 recipients, mixed indications
Abstract only, no comparison group. A working device is not the same as a dry patient.

## Slide 12
The bladder
Separate overactivity, weak contraction and poor compliance, because each leads to a different decision.
IN THIS SECTION
10
Case 1: six pads and urgency
11
Urgency treatment and emptying
12
Case 2: weak contraction and residual urine
13
Catheterisation with a cuff in place
14
Detrusor overactivity and poor compliance
Decide before theatre
The bladder
The urethra
Preparation without ritual
The operation
After the implant

## Slide 13
THE BLADDER
10 / 38
Case 1: six pads and urgency
DO24 · OAB11 · DOFAIL23 · CCIFU
DO alone does not rule out an AUS. The ContiClassic label requires bladder problems to be controlled or resolved first.
FICTIONAL CASE 01
Stress leak after prostatectomy, shown on examination
Urgency leakage and detrusor overactivity
Safe storage pressures and good emptying
Goal: walk without soaking his clothes
Implant now or optimise first?
YOUR CALL
IMPLANT
OPTIMISE
INVESTIGATE
RECONSIDER

## Slide 14
THE BLADDER
11 / 38
Urgency treatment and emptying
BAUS25 · AUAOAB24 · OAB11 · CCIFU
No one order of treatments has been shown to be best around a cuff.
1
Fix the reversible causes first
2
Choose the drug with his memory and his residual in mind
3
Before botulinum toxin, plan for retention and for repeat injections through a cuff
4
Urgency after an AUS is a separate outcome; agree that beforehand

## Slide 15
THE BLADDER
12 / 38
Case 2: weak contraction and residual urine
DU23 · AUA24 · ICSUDS17 · CCIFU
The weak-bladder studies do not prove safety in unresolved retention. No residual number decides it.
FICTIONAL CASE 02
Stress leakage with slow voiding
Urine left behind, again and again
Weak contraction and abdominal straining
Could still be a narrowing, or a test that inhibited him
Would a reliable emptying plan change your answer?
YOUR CALL
IMPLANT
INVESTIGATE
RECONSIDER

## Slide 16
THE BLADDER
13 / 38
Catheterisation with a cuff in place
CIC23 · CATH13 · CCIFU · ICS16 · BAUSSCI26 · INSTR26
A 2026 survey found gaps in deactivation training. Follow the device instructions; there is no universal catheter size.
Cuff fully deflated. Device deactivated.
1
Why does he catheterise, and how often?
2
Check he can really do it, and agree the drainage route before the implant
3
Repeated or long-term catheters need a specialist plan
Notes: Figure: original two-panel schematic drawn for this slide on 20 October 2026 (presentation/assets/cuff-bore-schematic.png, drawn by design/cuff_bore_figure.py; provenance in assets/SOURCES.md). Diagrammatic cross-sections, not to scale; no device dimensions or catheter sizes are shown.

## Slide 17
THE BLADDER
14 / 38
Detrusor overactivity and poor compliance
UDS09 · ICS16 · BAUS25 · CCIFU · BAUSSCI26
Schematic traces, arbitrary units. Check the trace quality; check kidneys and upper tracts when storage pressure worries you.
DO: transient contraction
Chart: Increasing filling volume → (arbitrary units)
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Pressure | 0 | 0 | 0 | 0.4 | 2.8 | 7 | 1.2 | 0.4 | 0 | 0
Involuntary filling contraction
Poor compliance: sustained rise
Chart: Increasing filling volume → (arbitrary units)
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Pressure | 0 | 0.3 | 0.7 | 1.2 | 1.8 | 2.6 | 3.5 | 4.6 | 5.8 | 7.2
A separate storage-safety problem

## Slide 18
The urethra
Name the narrowing, prove the outlet is stable, and plan the tissue the cuff will need.
IN THIS SECTION
15
Three different sites of narrowing
16
Reassessment and urethral stability
17
Case 3: radiation and recurrent VUAS
18
AUS after urethral reconstruction
19
Transcorporal placement: role and costs
Decide before theatre
The bladder
The urethra
Preparation without ritual
The operation
After the implant

## Slide 19
THE URETHRA
15 / 38
Three different sites of narrowing
EAUSTR26 · BAUS25 · AUA24
Symptoms, flow, residual and the scope must all say the outlet is stable.
Teaching schematic, not to scale.
Anatomical distinctions
Anterior stricture: the urethra and its spongy tissue
Bladder-neck contracture: prostate partly present
VUAS: the bladder–urethra join after prostatectomy
Notes: Illustration: original AI-generated teaching schematic made on 5 October 2026 for this slide (presentation/assets/anatomical-narrowing-colour-annotations-2026.png; provenance and prompt in assets/SOURCES.md and anatomical-narrowing-generation-notes-2026.md). Terminology checked against the EAU urethral strictures classification. Simplified, not to scale, not clinically validated; no patient image or UroOps3D asset was used.

## Slide 20
THE URETHRA
16 / 38
Reassessment and urethral stability
BAUS25 · AUA24 · EAUSTR26 · ICS16
Three intervals for three situations. The pattern of recurrence, the tissue and future access decide.
Guideline | Interval | The relevant pathway
AUA | At least 4–6 weeks | A check scope after treating a symptomatic bladder-neck or anastomotic narrowing
EAU | 3–6 months | After a redo bladder–urethra anastomosis
BAUS | At least six months without recurrence | After treatment of post-prostatectomy narrowing

## Slide 21
THE URETHRA
17 / 38
Case 3: radiation and recurrent VUAS
RT22 · BAUS25 · EAUSTR26 · AUA24 · RTTIME25
Radiotherapy raises the risk. A 2025 study sets no waiting rule; a stable outlet and reconstruction come first.
FICTIONAL CASE 03
Radical prostatectomy and salvage radiotherapy
Severe leak whenever the narrowing is open
The anastomosis keeps narrowing
It only stays open because we keep treating it
Implant, stage reconstruction or reconsider the endpoint?
YOUR CALL
IMPLANT
STAGE
RECONSIDER

## Slide 22
THE URETHRA
18 / 38
AUS after urethral reconstruction
URETH26 · BAUS25 · AUA24 · ICS16 · URETHMETA26
2026 meta-analysis: a previous urethroplasty means more removals; repairs that cut the urethra across carry more erosion. Observational data.
The reconstruction history
Repair site and operative report
Was the urethra cut across, or not?
Prior erosion, graft or posterior reconstruction
The next operation
Keep the remaining tissue and its blood supply
Choose healthy tissue for the cuff
No safe plane? Reassess, or do it in stages

## Slide 23
THE URETHRA
19 / 38
Transcorporal placement: role and costs
TC20 · TC23 · BAUS25 · AP23 · TCSYS25
The latest review suggests less erosion but more revision. Non-randomised data cannot prove protection.
Selected role
A dangerous plane behind the urethra
A move for one specific dissection problem
Whether it protects from erosion is unproven
Costs and limitations
Injury and bleeding from the erectile bodies
Effects on erections and on any future penile implant
The worst urethras get it, which muddies the comparisons

## Slide 24
Preparation without ritual
Identify the activity, the product and the evidence before debating a duration.
IN THIS SECTION
20
The fifteen-minute wash question
21
Skin culture reduction and clinical infection
22
Urine and antibiotic disagreements
23
Contamination control during implantation
24
The pre-implant theatre checklist
Decide before theatre
The bladder
The urethra
Preparation without ritual
The operation
After the implant

## Slide 25
PREPARATION WITHOUT RITUAL
20 / 38
The fifteen-minute wash question
BAUS25 · NICE · WHO09 · PREP24 · IRRIG26
BAUS’s five-minute field scrub is consensus, borrowed from other implants. Product timings are for different activities.
No AUS evidence supports a fixed 15-minute preparation
1
Washing at home
Soap, the day before or the day of surgery
2
Skin preparation in theatre
Right product, right site, contact time, fully dry
3
Hand antisepsis
The team’s hands and forearms
4
Washout and device preparation
Separate steps, each with its own rules

## Slide 26
PREPARATION WITHOUT RITUAL
21 / 38
Skin culture reduction and clinical infection
YEUNG13 · PREP24 · NICE · CHLORA26 · BAUS25
Yeung 2013: 100 first genitourinary implants, 50 per arm. Skin cultures after preparation, not AUS infections; no timing tested.
Positive post-preparation skin cultures
Chart: 
| Chlorhexidine–alcohol | Povidone–iodine
Positive cultures | 8 | 32
A laboratory measure, not infections
No study shows fewer AUS infections
The right product, the right site and full drying still matter

## Slide 27
PREPARATION WITHOUT RITUAL
22 / 38
Urine and antibiotic disagreements
IDSA19 · BAUS25 · AUAABX20 · ABX18 · CCIFU · AUAABX26
A 2026 AUA abstract (IP09-18) covers antibiotics after surgery; results not published. Agree the label with local microbiology policy.
Question | Evidence or instruction
Symptomatic infection | Treat and reassess before implantation
Asymptomatic bacteriuria | BAUS says test and treat; IDSA says do not screen or treat for an AUS alone
Prophylaxis | Give before the incision; repeat the dose if the operation is long
Postoperative antibiotics | Older observational data show no clear benefit; the ContiClassic label asks for a longer course

## Slide 28
PREPARATION WITHOUT RITUAL
23 / 38
Contamination control during implantation
TOUCH23 · NICE · AP23 · CCIFU · IRRIG26
2026 AMS 800 cohort: infections 1 in 59 with gentamicin vs 2 in 114 without. Three events prove nothing either way.
1
Protect the implant until the field is ready
2
Limit skin contact and unnecessary handling
3
Fresh sterile gloves before touching the device, and a pause to check
4
Keep washout, device dipping and device filling separate

## Slide 29
PREPARATION WITHOUT RITUAL
24 / 38
The pre-implant theatre checklist
NICE · BAUS25 · CCIFU · AUAABX20 · IRRIG26
Check | Basis
Indication, infection review, prophylaxis and asepsis | Guidance-supported
Antiseptic, drying, antibiotic choice and redosing | Product and local policy
Model, sizes, pressure, preparation and drainage | Current device instructions and local plan
Clean handling pause and contamination response | Expert practice, not trial evidence
A fixed 15 minutes, the best washout, long antibiotic courses | Unresolved

## Slide 30
The operation
Preserve tissue, measure what the cuff will enclose, follow the actual device protocol, and verify before closing.
IN THIS SECTION
25
Positioning and exposure
26
Bulbar dissection and tissue preservation
27
Cuff measurement and fit
28
Urethral injury or contamination
29
Balloon pocket and pressure selection
30
Pump position and patient access
31
System checks and handover
32
UroOps 3D: anatomy and component routes
Decide before theatre
The bladder
The urethra
Preparation without ritual
The operation
After the implant

## Slide 31
THE OPERATION
25 / 38
Positioning and exposure
AUA24 · ICS16 · AP23
The access plan
Respect hip mobility and protect pressure points
Plan the perineal, balloon and pump sites together
Review scars, mesh, previous devices and repairs
Poor exposure? Improve it before dissecting further
Notes: Image: UroOps 3D, https://uroops3d.com/lab/aus . Captured 10 October 2026. © UroOps3D / UroRef / Nity G. Teaching schematic with clinical review pending. It illustrates spatial relationships, not validated anatomy, tissue perfusion or operative instructions.

## Slide 32
THE OPERATION
26 / 38
Bulbar dissection and tissue preservation
ICS16 · AP23 · CCIFU · URETH26
The cuff-bearing segment
Healthy tissue with enough spongy support
Dissect the plane behind the urethra under direct vision
Free only the length the cuff needs
Unsure of the plane or the wall? Stop and reassess
Notes: Image: UroOps 3D, https://uroops3d.com/lab/aus . Captured 10 October 2026. © UroOps3D / UroRef / Nity G. Teaching schematic with clinical review pending. It illustrates spatial relationships, not validated anatomy, tissue perfusion or operative instructions.

## Slide 33
THE OPERATION
27 / 38
Cuff measurement and fit
ICS16 · CCIFU · CCSAFETY · AP23
Sizing errors
Let go of the traction; do not squash the urethra
Confirm which tissue the cuff will enclose
Use the device’s own sizing method
Poor fit? Measure again; do not raise the pressure
Notes: Image: UroOps 3D, https://uroops3d.com/lab/aus . Captured 10 October 2026. © UroOps3D / UroRef / Nity G. Teaching schematic with clinical review pending. It illustrates spatial relationships, not validated anatomy, tissue perfusion or operative instructions.

## Slide 34
THE OPERATION
28 / 38
Urethral injury or contamination
BAUS25 · AP23 · ICS16 · CCIFU
An improvised antiseptic soak cannot rescue a contaminated single-use implant.
The endpoint can change
to repair and safe drainage
1
Not sure the wall is intact? Leak test or scope
2
A known urethral injury means no implant today
3
Replace contaminated single-use items and reset the clean field

## Slide 35
THE OPERATION
29 / 38
Balloon pocket and pressure selection
CCIFU · AP23 · ICS16
A safe pocket and the right pressure are two separate decisions. Fill volumes and selection rules need the current OR protocol.
ContiClassic label
60–69 cmH₂O
AMS 800 consensus
Commonly 61–70 cmH₂O
These ranges are device-specific
Notes: Image: UroOps 3D, https://uroops3d.com/lab/aus . Captured 10 October 2026. © UroOps3D / UroRef / Nity G. Teaching schematic with clinical review pending. It illustrates spatial relationships, not validated anatomy, tissue perfusion or operative instructions.

## Slide 36
THE OPERATION
30 / 38
Pump position and patient access
AP23 · ICS16 · CCIFU
A functional position
Use the accessible side agreed in clinic
Avoid crowding, tight skin and pressure on the testis
Check the orientation and tubing pull before closing
Check he can reach it at activation
Notes: Image: UroOps 3D, https://uroops3d.com/lab/aus . Captured 10 October 2026. © UroOps3D / UroRef / Nity G. Teaching schematic with clinical review pending. It illustrates spatial relationships, not validated anatomy, tissue perfusion or operative instructions.

## Slide 37
THE OPERATION
31 / 38
System checks and handover
CCIFU · ICS16 · AP23 · CATH13 · INSTR26
A 2026 survey found gaps in deactivation training. Fill the device by its own protocol.
1
Trace the tubing: no tension, bends or trapping
2
Check the connections and cycle the device
3
Confirm the cuff is open and the device is off
4
Record the device, the catheter plan and whom to call

## Slide 38
THE OPERATION
32 / 38
UroOps 3D: anatomy and component routes
ICS16 · AP23 · CCIFU
LIVE DEMONSTRATION
1
Cuff and dorsal plane
2
Pump access
3
Balloon pocket
4
Tubing route
uroops3d.com/lab/aus
Live page. Teaching schematic, clinical review pending.
Notes: Image: UroOps 3D, https://uroops3d.com/lab/aus . Captured 10 October 2026. © UroOps3D / UroRef / Nity G. Teaching schematic with clinical review pending. It illustrates spatial relationships, not validated anatomy, tissue perfusion or operative instructions.

## Slide 39
After the implant
Hand over the risk, diagnose late leakage before revising, and say where the evidence stops.
IN THIS SECTION
33
Aftercare, activation and urgent review
34
Case 4: leakage after three good years
35
Established benefit and unresolved questions
36
Five decisions before implantation
37
Five decisions protecting the result
38
Discussion
Decide before theatre
The bladder
The urethra
Preparation without ritual
The operation
After the implant

## Slide 40
AFTER THE IMPLANT
33 / 38
Aftercare, activation and urgent review
BAUS25 · CCIFU · AUA24 · CATH13 · BAUSDAY26 · DAYMETA26 · DAYCASE26
The 2026 day-case audit and studies support selected pathways. Confirm he empties, has support, and can get seen fast.
Planned care
Day case for selected men, once he has voided
ContiClassic: switched off for 4–6 weeks until pain and swelling settle
At activation he works it himself and gets the device card
Earlier assessment
Retention or difficult voiding
Worsening pain, redness, discharge or fever
Suspected infection or erosion needs specialist review

## Slide 41
AFTER THE IMPLANT
34 / 38
Case 4: leakage after three good years
ATROPHY20 · BAUS25 · AUA24 · CCIFU · AUASAFER26 · PRBFAT26 · EROSION26 · SECOND26
A 2026 lab study shows balloons wear with age. Find the cause; do not automatically fit a smaller cuff or a new balloon.
FICTIONAL CASE 04
A good result for three years
Now leaking again
Why he leaks, and how he uses the pump, still to be checked
Could be erosion, a mechanical fault, or the bladder
What would you investigate before choosing revision?
YOUR CALL
USE
URETHRA
MECHANICS
BLADDER

## Slide 42
AFTER THE IMPLANT
35 / 38
Established benefit and unresolved questions
MASTER22 · TC20 · TC23 · PREP24 · CCSAFETY · DEVICE26 · UROACTIVE26
2026 reviews and the first electronic sphincters add options; comparative and long-term evidence is still thin.
Supported or plausible
Well-chosen patients get a big improvement
Keeping tissue and controlling contamination make sense
Plan for future catheters and scopes
Still uncertain
The best rescue for a fragile urethra
The best washout fluid and preparation time
Long-term ContiClassic results compared with AMS 800

## Slide 43
AFTER THE IMPLANT
36 / 38
Five decisions before implantation
BAUS25 · EAU26 · AUA24 · DU23 · ICS16
1
A stress leak shown, and a goal that matters to him
2
Can he use the pump now, and in five years?
3
Tests that answer: anatomy, safe storage, emptying
4
Overactive, weak, or high-pressure bladder: keep them separate
5
A stable urethra and future access plan

## Slide 44
AFTER THE IMPLANT
37 / 38
Five decisions protecting the result
CCIFU · NICE · AP23 · ATROPHY20 · BAUS25
6
The right antisepsis and the right antibiotics
7
Keep the tissue; measure without distortion
8
The real device protocol, and clear reasons to stop
9
Check the device is off, the drainage plan, and teach the patient
10
A diagnosis before any revision

## Slide 45
AFTER THE IMPLANT
38 / 38
Discussion
1
Which bladder finding makes you defer an implant?
2
What establishes urethral stability in your practice?
3
Which preparation or salvage practice needs a trial?
Which finding would change your plan?

## Slide 46
BACKUP
Outcome evidence: device and endpoint
Study and population | Endpoint and result | Limits
AUSCO 2026: AMS 800 115 primary implants, 25 irradiated | 12 months after activation 91/97 ≥50% pad-weight reduction 61/101 zero pads | Prospective single-arm, funded by manufacturer. Missing data, one year, expert centres
Linder 2015: AMS 800 1,082 primary implants, 27% irradiated | Freedom from any secondary surgery KM 74% at five years 57% at ten years | Historical specialist cohort. Continence and revision-free survival differ
Wilson 2024: ContiClassic 116 recipients, mixed indications | Eight revisions 12-month KM device survival 93.2% | Early safety series. No standardised continence comparator; mixed indications

## Slide 47
BACKUP
Comparative and preparation evidence
Study | Finding | Limits
MASTER 2022 / 2026 Same 380 randomised men | 24-month non-inferiority retained Further surgery: sling 11%, AUS 2% | Selected trial population. Secondary outcomes favour AUS; not general equivalence
Yeung 2013 100 initial GU prosthetic procedures | Post-preparation skin culture positivity 8% versus 32% | Surrogate outcome. Mixed devices. No AUS infection or duration conclusion
Gentamicin withdrawal 2026 173 uncoated AMS 800 procedures | 90-day SSI: 1/59 versus 2/114 No significant difference detected | Sparse events, era confounding, broad systemic prophylaxis; not equivalence

## Slide 48
BACKUP
Evidence gaps
1
Routine versus selective UDS and meaningful outcomes
2
Functional eligibility in DU or chronic retention
3
Staging intervals after different reconstructions
4
Comparative protection from salvage strategies
5
Preparation, irrigation and prolonged prophylaxis
6
Independent long-term ContiClassic outcomes
7
Mechanisms and revision strategy in late leakage

## Slide 49
REFERENCES
Sources 1 of 3
BAUS25
BAUS consensus, BJU Int 2025
EAU26
EAU male LUTS guidelines, 2026
AUA24
AUA/GURS/SUFU IPT amendment, 2024
EAUSTR26
EAU urethral strictures guidelines, 2026
ICS16
ICS AUS consensus, NUU 2016
AP23
Asia-Pacific AMS 800 consensus, 2023
CCIFU
Rigicon ContiClassic IFU, REV.03, 2023
ICSUDS17
ICS good urodynamic practices, 2017
AUAOAB24
AUA/SUFU idiopathic OAB guideline, 2024
NICE
NICE NG125: surgical site infection
WHO09
WHO hand hygiene guidance, 2009
CHLORA26
ChloraPrep UK product information, 2026
IDSA19
IDSA asymptomatic bacteriuria, 2019
AUAABX20
AUA antimicrobial prophylaxis, 2020
CCSAFETY
Wilson: ContiClassic safety, IJIR 2024
MASTER22
MASTER randomised trial, HTA 2022
UDS09
Lai: pre-AUS urodynamics, Urology 2009
OAB11
Lai: OAB and post-prostatectomy AUS, 2011
DO24
Bhatt: preoperative DO systematic review, 2024
DOFAIL23
Krughoff: earlier AUS failure, 2023

## Slide 50
REFERENCES
Sources 2 of 3
DU23
Han: AUS with detrusor underactivity, 2023
CIC23
Krughoff: CIC after bulbar AUS, 2023
CATH13
Seideman: prolonged catheterisation, 2013
UDS14
Weissbart: absent leak during UDS, 2014
RT22
Zhang: radiation meta-analysis, 2022
URETH26
Davis: AUS after urethroplasty, 2026
TC20
Redmond: transcorporal fragile urethra, 2020
TC23
Kurtzman: high-risk transcorporal AUS, 2023
ATROPHY20
Bergeson: urethral atrophy and revision, 2020
PREP24
Bourgi: AUS preparation protocols, 2024
YEUNG13
Yeung: GU skin preparation RCT, 2013
ABX18
Adamsky: postoperative antibiotics, 2018
TOUCH23
Ziegelmann: minimal-touch AUS, 2023
LINDER15
Linder: long-term AMS 800 outcomes, 2015
AUSCO26
Kaufman: AMS 800 AUSCO study, 2026
AUASTATUS26
AUA current guideline register, July 2026
BAUSDAY26
BAUS 2026 P4-8: day-case AUS audit
BAUSSCI26
BAUS 2026 P12-7: bulbar AUS in SCI
AUAUDS26
AUA 2026 IP09-22: pre-AUS UDS and cystoscopy
AUAABX26
AUA 2026 IP09-18: postoperative antibiotics

## Slide 51
REFERENCES
Sources 3 of 3
AUASAFER26
AUA 2026 IP09-17: SAFER erosion management
MASTER26
MASTER: 24-month RCT results, 2026
URETHMETA26
Prior urethroplasty: meta-analysis, 2026
IRRIG26
Gentamicin withdrawal: AMS 800 cohort, 2026
DAYMETA26
Day-case AUS meta-analysis: 2026 issue
DAYCASE26
Day-case versus inpatient AUS: 177 men, 2026
FRAIL26
Frailty and SUI surgery: Medicare cohort, 2026
PAD26
Pad count versus 24-hour weight: 2026
PRBFAT26
PRB material fatigue: 2026 issue
REGRET26
Long-term decisional regret after AUS, 2026 issue
INSTR26
AUS instrumentation knowledge survey, 2026
EROSION26
Immediate urethral repair at explantation, 2026
DEVICE26
Emerging AUS devices review, 2026
SECOND26
Second AUS survival: national French cohort, 2026
TCSYS25
Transcorporal systematic review, online 2025
RTTIME25
Radiation and cuff-removal timing cohort, 2025
UROACTIVE26
Electronic AUS: first-in-human study, 2026
REPORT26
Standardised complication reporting: 2026